## Sheet1
Model: Catalyst
System SN: 0027H256
Tester Condition | Good Condition
Tester Configuration
Cal/Diag Datalogs | System Check result failed on HSDST - probably caused by Digital Test Head Board slot 28
Tester Mainframe / Testhead / Power Conditioner / Workstation
Manipulator w/ Testhead
Inside Board Racks